# NONWATER-BASED FIRE-PROTECTION SYSTEM

# INSPECTION, TESTING, AND MAINTENANCE REPORT

| Company Name |  |
| --- | --- |
|  | FPB File No.: |  |
|  |  |  | License No.: |  |
|  |  |  | TMK: |  |
| Type of System: |
| Date: | Time In: | Time Out: | AM | PM | Type of Inspection |
| Business Name: |  | Annual |  |
| Business Address: |  | Semi-Annual |  |
| Telephone: |  | Contact Person: | Emergency Call |  |
| Building Owner: |  | Date Built: |
| Address: | City: | State: HI | Zip: |
| Area Protected: |
| Panel Manufacturer: |  | Model No.: |  |
| Battery Type: |  | Number of Batteries: |  | Battery Voltage: |  |
| Battery Amp Hours: | Charger Voltage Level: | Date Battery Last Replaced: |
| 1 | Are batteries supervised? | (See item 20 to explain) | Yes | No | N/A |
| 2 | Are batteries externally supervised? | (See item 20 to explain) | Yes | No | N/A |
| 3 | Batteries externally supervised by whom? | Telephone Number: |
| 4 | Breaker location? |  |
| 5 | Is breaker clearly marked? | Yes | No | N/A | Is breaker supervised? | Yes | No | N/A |
| 6 | Is computer tied in? | Yes | No | N/A | Is fire alarm tied in? | Yes | No | N/A |
| 7 | Explain bypass system? |
| 8 | Number of ion detectors? | Number of photo detectors? | Number of thermal detectors? |
| 9 | Are detectors cross-zoned? | Yes | No | N/A | Are detectors verified? | Yes | No | N/A |
| 10 | Single release type? | Yes | No | N/A | Manual release type? | Yes | No | N/A |
| 11 | Alarm system bells operable? | (See item 20 to explain) | Yes | No | N/A |
| 12 | Alarm system horns operable? | (See item 20 to explain) | Yes | No | N/A |
| 13 | Alarm system strobes operable? | (See item 20 to explain) | Yes | No | N/A |
| 14 | Alarm system lights operable? | (See Item 20 to explain) | Yes | No | N/A |
| Agent Cylinder Data |
| Size | Location | Model | Hydro Date | Scale Weight | Serial No. | Pressure |
| 15 | Mounted adequately? | Yes | No | N/A | Manifolded properly? | Yes | No | N/A |
| 16 | Check valves in place? | Yes | No | N/A | Reserve cylinder bank? | Yes | No | N/A |
| 17 | Pressure switch? | Yes | No | N/A | Switch supervised? | Yes | No | N/A |
| 18 | Date of last squib replacement? |  |
| 19 | System inspected and found: Satisfactory |  | Unsatisfactory | See item 20 for comments |
| 20 | Comments: |
| Inspector’s Name: | License No.: | Date of Inspection: |

Owner, Agent, or Representative’s Section

I have been apprised of the test results and given a copy of this report to be kept on the premises.  I will immediately correct or notify responsible parties of all deficiencies noted on this report.

| Signature: | Print Name: | Date: |
| --- | --- | --- |

Exhibit G