## COMPRESSED GAS CYLINDERS

- Are cylinders with water weight capacity over 30 pounds, equipped with means for connecting a valve protector device, or with a collar or recess to protect the valve?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are cylinders legibly marked to clearly identify the gas contained?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are compressed gas cylinders stored in areas, which are protected from external heat sources, such as flame impingement, intense radiant heat, electric arcs, or high temperature lines?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are cylinders located or stored in areas where they will not be damaged by passing or falling objects or subject to tampering by unauthorized persons?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are cylinders stored or transported in a manner to prevent them from creating a hazard by tipping, falling, or rolling?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are cylinders containing liquefied fuel gas, stored or transported in a position so that the safety relief device is always in direct contact with the vapor space in the cylinder?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are valve protectors always placed on cylinders when the cylinders are not in use or connected for use?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all valves closed off before a cylinder is moved, when the cylinder is empty, and at the completion of each job?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are low pressure fuel-gas cylinders checked periodically for corrosion, general distortion, cracks, or any other defect that might indicate a weakness or render it unfit for service?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Does the periodic check of low-pressure fuel-gas cylinders include a close inspection of the cylinders’ bottom?

Action to be Taken						Assigned To:

_____________________________________   ____________________________