COMPRESSORS AND COMPRESSED AIR

- Are compressors equipped with pressure relief valves, and pressure gauges?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are compressor air intakes installed and equipped so as to ensure that only clean uncontaminated air enters the compressor?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are air filters installed on the compressor intake?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are compressors operated and lubricated in accordance with the manufacturer's recommendations?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are safety devices of compressed air systems checked frequently?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Before any repair work is done on the pressure system of a compressor, is the pressure bled off and the system locked-out?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are signs posted to warn of the automatic starting feature of the compressors?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is the belt drive system totally enclosed to provide protection for the front, back, top, and, sides?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is it strictly prohibited to direct compressed air towards a person?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are employees prohibited from using highly compressed air for cleaning purposes?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- If compressed air is used for cleaning, is the pressure reduced to less than 30 psi?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- When using compressed air for cleaning, do employees wear protective chip guarding and personal protective equipment?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are safety chains or other suitable locking devices used at couplings of high-pressure hose lines where a connection failure would create a hazard?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Before compressed air is used to empty containers of liquid, is the safe working pressure of the container checked?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- When compressed air is used with abrasive blast cleaning equipment, is the operating valve a type that must be held open manually?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is it prohibited to use compressed air to clean up or move combustible dust if such action could cause the dust to be suspended in the air and cause a fire or explosion hazard?

Action to be Taken						Assigned To:

_____________________________________   ____________________________