## ENTERING CONFINED SPACES

- Are confined spaces thoroughly emptied of any corrosive or hazardous substances, such as acids or caustics, before entry?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all lines to a confined space, containing inert, toxic, flammable, or corrosive materials valved off and blanked or disconnected and separated before entry?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is it required that all impellers, agitators, or other moving equipment inside confined spaces be locked-out if they present a hazard?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is either natural or mechanical ventilation provided prior to confined space entry?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are appropriate atmospheric tests performed to check for oxygen deficiency, explosive concentrations and toxic substances in the confined space before entry?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is adequate illumination provided for the work to be performed in the confined space?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is the atmosphere inside the confined space frequently tested or continuously monitored during conduct of work?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is there an assigned safety standby employee outside of the confined space, when required, whose sole responsibility is to watch the work in progress, sound an alarm if necessary, and render assistance?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is approved respiratory equipment required if the atmosphere inside the confined space cannot be made acceptable?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is all portable electrical equipment used inside confined spaces either grounded and insulated, or equipped with ground fault protection?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Before gas welding or burning is started in a confined space, are hoses checked for leaks, compressed gas bottles forbidden inside of the confined space, torches lighted only outside of the confined area and the confined area tested for an explosive atmosphere each time before a lighted torch is to be taken into the confined space?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- If employees will be using oxygen-consuming equipment such as salamanders, torches, furnaces, etc., in a confined space, is sufficient air provided to assure combustion without reducing the oxygen concentration of the atmosphere below 19.5 percent by volume?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Whenever combustion-type equipment is used in a confined space, are provisions made to ensure the exhaust gases are vented outside of the enclosure?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is each confined space checked for decaying vegetation or animal matter which may produce methane?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is the confined space checked for possible industrial waste, which could contain toxic properties?

Action to be Taken						Assigned To:

____________________________________   ____________________________

- If the confined space is below the ground and near areas where motor vehicles will be operating, is it possible for vehicles exhaust or carbon monoxide to enter the space?

Action to be Taken						Assigned To:

_____________________________________   ____________________________