## EXIT DOORS

- Are doors, which are required to serve as exits designed and constructed so that the way of exit travel is obvious and direct?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are windows, which could be mistaken for exit doors, made inaccessible by means of barriers or railings?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are exit doors openable from the direction of exit travel without the use of a key or any special knowledge or effort when the building is occupied?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is a revolving, sliding or overhead door prohibited from serving as a required exit door?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Where panic hardware is installed on a required exit door, will it allow the door to open by applying a force of 15 pounds or less in the direction of the exit traffic?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are doors on cold storage rooms provided with an inside release mechanism, which will release the latch and open the door even if it's padlocked or otherwise, locked on the outside?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Where exit doors open directly onto any street, alley or other area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are doors that swing in both directions and are located between rooms where there is frequent traffic, provided with viewing panels in each door?

Action to be Taken						Assigned To:

_____________________________________   ____________________________