FLAMMABLE AND COMBUSTIBLE MATERIALS

- Are combustible scrap, debris and waste material (oily rags, etc.) stored in covered metal receptacles and removed from the worksite promptly?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is proper storage practiced to minimize the risk of fire including spontaneous combustion?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are approved containers and tanks used for the storage and handling of flammable and combustible liquids?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all connections on drums and combustible liquid piping, vapor and liquid tight?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all flammable liquids kept in closed containers when not in use (e.g. parts cleaning tanks, pans, etc.)?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are bulk drums of flammable liquids grounded and bounded to containers during dispensing?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Do storage rooms for flammable and combustible liquids have explosion-proof lights?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Do storage rooms for flammable and combustible liquids have mechanical or gravity ventilation?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is liquefied petroleum gas stored, handled, and used in accordance with safe practices and standards?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are no smoking signs posted on liquefied petroleum gas tanks?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are liquefied petroleum storage stands guarded to prevent damage from vehicles?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all solvent waste, and flammable liquids kept in fire resistant, covered containers until they are removed from the worksite?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is vacuuming used whenever possible rather than blowing or sweeping combustible dust?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are firm separators placed between containers of combustibles or flammables, when stacked one upon another, to assure their support and stability?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fuel gas cylinders and oxygen cylinders separated by distance, fire resistant barriers, etc. while in storage?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fire extinguishers selected and provided for the types of materials in areas where they are to be used?

Class A	Ordinary combustible material fires.

Class B	Flammable liquid, gas or grease fires.

Class C	Energized-electrical equipment fires.

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are appropriate fire extinguishers mounted within 50 feet of areas containing flammable liquids?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are extinguishers free from obstructions or blockage?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all extinguishers serviced, maintained and tagged at intervals not to exceed one year?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all extinguishers fully charged and in their designated places?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Where sprinkler systems are permanently installed, are the nozzle heads so directed or arranged that water will not be sprayed into operating electrical switch boards and equipment?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are "NO SMOKING" signs posted where appropriate in areas where flammable or combustible materials are used or stored?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are safety cans used for dispensing flammable or combustible liquids at a point of use?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all spills of flammable or combustible liquids cleaned up promptly?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are storage tanks adequately vented to prevent the development of excessive vacuum or pressure as a result of filling, emptying, or atmosphere temperature changes?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are storage tanks equipped with emergency venting that will relieve excessive internal pressure caused by fire exposure?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are "NO SMOKING" rules enforced in areas involving storage and use of hazardous materials?

Action to be Taken						Assigned To:

_____________________________________   ____________________________