## FUELING

- Is it prohibited to fuel an internal combustion engine with a flammable liquid while the engine is running?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fueling operations done in such a manner that likelihood of spillage will be minimal?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- When spillage occurs during fueling operations, is the spilled fuel washed away completely, evaporated, or other measures taken to control vapors before restarting the engine?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fuel tank caps replaced and secured before starting the engine?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- In fueling operations, is there always metal contact between the container and the fuel tank?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fueling hoses of a type designed to handle the specific type of fuel?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is it prohibited to handle or transfer gasoline in open containers?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are open lights, open flames, or sparking, or arcing equipment prohibited near fueling or transfers of fuel operations?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is smoking prohibited in the vicinity of the fueling operations?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are fueling operators prohibited in building or other enclosed areas that are not specifically vented for this purpose?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Where fueling or transfer of fuel is done through a gravity flow system, are the nozzles of the self closing type?

Action to be Taken						Assigned To:

_____________________________________   ____________________________