# GENERAL WORK ENVIRONMENT

- Are all worksites clean, sanitary, and orderly?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are work surfaces kept dry or appropriate means taken to assure the surfaces are slip-resistant?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all spilled hazardous materials or liquids, including blood and other potentially infectious materials, cleaned up immediately and according to proper procedures?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is combustible scrap, debris and waste stored safely and removed from the worksite promptly?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is all regulated waste, as defined in the HIOSH bloodborne pathogens standard 12-205.1, discarded according to federal, state, and local regulations?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are accumulations of combustible dust routinely removed from elevated surfaces including the overhead structure of buildings, etc.?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is combustible dust cleaned up with a vacuum system to prevent the dust going into suspension?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Is metallic or conductive dust prevented from entering or accumulating on or around electrical enclosures or equipment?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are covered metal waste cans used for oily and paint soaked waste?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all oil and gas fired devices equipped with flame failure controls that will prevent flow of fuel if pilots or main burners are not working?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are paint spray booths, dip tanks, etc., cleaned regularly?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are the minimum number of toilets and washing facilities provided?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all toilets and washing facilities clean and sanitary?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are all work areas adequately illuminated?

Action to be Taken						Assigned To:

_____________________________________   ____________________________

- Are pits and floor openings covered or otherwise guarded?

Action to be Taken						Assigned To:

_____________________________________   ____________________________